## ngA
| Parameters | DV | T | RR | Env | Econ | S
0 | ('NEWgenerator pretreatment-A10', 'NEWgenerator pretreatment pretreatment eq tank [USD]')
1 | ('NEWgenerator pretreatment-A10', 'NEWgenerator pretreatment pretreatment tank PE weight [kg]')
2 | ('NEWgenerator pretreatment-A10', 'NEWgenerator pretreatment pretreatment piping [USD]')
3 | ('NEWgenerator pretreatment-A10', 'NEWgenerator pretreatment pretreatment piping PVC weight [kg]')
4 | ('NEWgenerator pretreatment-A10', 'NEWgenerator pretreatment pretreatment feed pump [USD]')
5 | ('NEWgenerator pretreatment-A10', 'NEWgenerator pretreatment pretreatment feed pump energy percycle [kWh]')
6 | ('NEWgenerator pretreatment-A10', 'NEWgenerator pretreatment pretreatment batch cycle perday [# batches day-1]')
7 | ('NEWgenerator pretreatment-A10', 'NEWgenerator pretreatment pretreatment labor replacement other pump [hrs/yr]')
8 | ('NEWgenerator pretreatment-A10', 'NEWgenerator pretreatment pretreatment labor screen pit cleaning [hrs/yr]')
9 | ('NEWgenerator pretreatment-A10', 'NEWgenerator pretreatment pretreatment barscreen cost [USD]')
10 | ('NEWgenerator pretreatment-A10', 'NEWgenerator pretreatment pretreatment barscreen weight [kg]')
11 | ('NEWgenerator pretreatment-A10', 'NEWgenerator pretreatment pretreatment barscreen [USD]')
12 | ('NEWgenerator foundation-A11', 'NEWgenerator foundation foundation concrete unit cost [USD m-3]')
13 | ('NEWgenerator foundation-A11', 'NEWgenerator foundation foundation concrete thickness [m]')
14 | ('Excretion-A1', 'Excretion N prot [fraction]')
15 | ('Excretion-A1', 'Excretion P prot v [fraction]')
16 | ('Excretion-A1', 'Excretion P prot a [fraction]')
17 | ('Excretion-A1', 'Excretion K cal [g K/1000 kcal]')
18 | ('Excretion-A1', 'Excretion N exc [fraction of intake]')
19 | ('Excretion-A1', 'Excretion P exc [fraction of intake]')
20 | ('Excretion-A1', 'Excretion K exc [fraction of intake]')
21 | ('Excretion-A1', 'Excretion e exc [fraction of intake]')
22 | ('Excretion-A1', 'Excretion N ur [fraction of total]')
23 | ('Excretion-A1', 'Excretion P ur [fraction of total]')
24 | ('Excretion-A1', 'Excretion K ur [fraction of total]')
25 | ('Excretion-A1', 'Excretion e fec [fraction of total]')
26 | ('Excretion-A1', 'Excretion N ur NH3 [fraction of total N in urine]')
27 | ('Excretion-A1', 'Excretion N fec NH3 [fraction of total N in feces]')
28 | ('Excretion-A1', 'Excretion ur exc [g/cap/d]')
29 | ('Excretion-A1', 'Excretion fec exc [g/cap/d]')
30 | ('Excretion-A1', 'Excretion ur moi [fraction]')
31 | ('Excretion-A1', 'Excretion fec moi [fraction]')
32 | ('Excretion-A1', 'Excretion mg ur [g Mg/cap/d]')
33 | ('Excretion-A1', 'Excretion mg fec [g Mg/cap/d]')
34 | ('Excretion-A1', 'Excretion ca ur [g Ca/cap/d]')
35 | ('Excretion-A1', 'Excretion ca fec [g Ca/cap/d]')
36 | ('Excretion-A1', 'Labor wages [USD/h]')
37 | ('MURT-A2', 'MURT collection period [days]')
38 | ('MURT-A2', 'MURT sludge accum rate [L/cap/yr]')
39 | ('MURT-A2', 'MURT N volatilization [fraction of N input]')
40 | ('MURT-A2', 'MURT squatting pan cost [USD]')
41 | ('MURT-A2', 'MURT urinal cost [USD]')
42 | ('MURT-A2', 'MURT led cost [USD]')
43 | ('MURT-A2', 'MURT anticor floor cost [USD]')
44 | ('MURT-A2', 'MURT fan cost [USD]')
45 | ('MURT-A2', 'MURT circuit change cost [USD]')
46 | ('MURT-A2', 'MURT pipe cost [USD]')
47 | ('MURT-A2', 'MURT squatting pan weight [kg]')
48 | ('MURT-A2', 'MURT urinal weight [kg]')
49 | ('MURT-A2', 'Max ch4 emission [g CH4/g COD]')
50 | ('MURT-A2', 'Full degradation time [yr]')
51 | ('MURT-A2', 'Log degradation [-]')
52 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr reactor tank [USD]')
53 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr reactor media [USD]')
54 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr reactor fittings [USD]')
55 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr membrane module [USD]')
56 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr permeate pump [USD]')
57 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr backwash pump [USD]')
58 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr water pump [USD]')
59 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr membrane fittings [USD]')
60 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr biogas gas bag [USD]')
61 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr biogas fittings [USD]')
62 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr biogas ventilation [USD]')
63 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr COD removal [ratio]')
64 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr TN removal [ratio]')
65 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr TP removal [ratio]')
66 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr water pump energy percycle [kWh]')
67 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr permeate pump energy percycle [kWh]')
68 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr backwash pump energy percycle [kWh]')
69 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr batch cycle perday [# batches day-1]')
70 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr labor maintenance membrane chem cleaning [hrs/yr]')
71 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr labor maintenance sludge removal [hrs/yr]')
72 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr labor replacement membrane pump [hrs/yr]')
73 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr labor replacement permeate pump [hrs/yr]')
74 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr labor replacement membrane module [hrs/yr]')
75 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr labor replacement misc repairs [hr/y]')
76 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr reactor weight [kg]')
77 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr tau [d]')
78 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr soluble methane fraction [nan]')
79 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr VSS TSS ratio [nan]')
80 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr membrane weight [kg]')
81 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr PE weight [kg]')
82 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr PVC weight [kg]')
83 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr plastic weight [kg]')
84 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr piping [USD]')
85 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr piping PVC weight [kg]')
86 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr sludge yield [kg-VSS/kg-BOD removed]')
87 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR anmbr methane yield [m3-CH4/kg COD removed]')
88 | ('NEWgenerator an MBR-A3', 'NEWgenerator an MBR dissolved methane HFMC removed [nan]')
89 | ('Sludge pasteurization-A4', 'Sludge pasteurization sludge dryer weight [kg]')
90 | ('Sludge pasteurization-A4', 'Sludge pasteurization sludge barrel weight [kg]')
91 | ('Sludge pasteurization-A4', 'Sludge pasteurization sludge dryer [USD]')
92 | ('Sludge pasteurization-A4', 'Sludge pasteurization sludge barrel [USD]')
93 | ('Sludge pasteurization-A4', 'Sludge pasteurization sludge labor maintenance [h]')
94 | ('Sludge pasteurization-A4', 'Fraction biogas lost [fraction]')
95 | ('Sludge pasteurization-A4', 'Biogas efficiency [fraction]')
96 | ('Sludge pasteurization-A4', 'Heat loss [fraction]')
97 | ('Sludge pasteurization-A4', 'Sludge temperature [fraction]')
98 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion eq2 tank [USD]')
99 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion eq2 pump [USD]')
100 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion eq2 powered valve [USD]')
101 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion eq2 fittings [USD]')
102 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion zeolite tanks [USD]')
103 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion filtration media [USD]')
104 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion gac [USD]')
105 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion zeolite [USD]')
106 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion zeolite fittings [USD]')
107 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion eq3 tank [USD]')
108 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion eq3 pump [USD]')
109 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion eq3 filter [USD]')
110 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion eq3 fittings [USD]')
111 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion COD removal [nan]')
112 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion TN removal [nan]')
113 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion TP removal [nan]')
114 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion labor maintenance zeolite regeneration [hr/y]')
115 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion labor maintenance GAC replacement [hr/y]')
116 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion labor replacement zeolite [hr/y]')
117 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion labor replacement misc repairs [hr/y]')
118 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion labor replacement other pump [hrs/yr]')
119 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion backwash pump energy percycle [kWh]')
120 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion batch cycle perday [# batches day-1]')
121 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion gac unit cost [USD/kg]')
122 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion zeolite unit cost [USD/kg]')
123 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion na cl unit cost [USD/kg]')
124 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion na OH unit cost [USD/kg]')
125 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion regen freq per yr [events/yr]')
126 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion regen efficiency [nan]')
127 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion polycarbonate weight [kg]')
128 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion steel weight [kg]')
129 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion PE weight [kg]')
130 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion PVC weight [kg]')
131 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion plastic weight [kg]')
132 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion piping PVC weight [kg]')
133 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion piping [USD]')
134 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion replacement scenario drums [USD]')
135 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion largerncs scenario zeolite tanks [USD]')
136 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion largerncs scenario zeolite [USD]')
137 | ('NEWgenerator ion exchange-A5', 'NEWgenerator ion exchange ion zeolite fittings largerncs [USD]')
138 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination recycle pump [USD]')
139 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination electochlorinator [USD]')
140 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination powered valve [USD]')
141 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination fittings [USD]')
142 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination tanks [USD]')
143 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination COD removal [%]')
144 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination TN removal [%]')
145 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination TP removal [%]')
146 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination chlorinator energy percycle [kWh]')
147 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination pump energy percycle [kWh]')
148 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination ventilation energy percycle [kWh]')
149 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination valve energy percycle [kWh]')
150 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination product water pump energy percycle [kWh]')
151 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination batch cycle per day [# batches day-1]')
152 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination labor maintenance chlorinator recharging [hr/y]')
153 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination labor replacement chlorinator replacement [hr/y]')
154 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination labor replacement other pump [hr/y]')
155 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination labor replacement misc repairs [hr/y]')
156 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination na cl dosage [mg/L]')
157 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination throughput flow [L/d]')
158 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination PE weight [kg]')
159 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination PVC weight [kg]')
160 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination electronics active weight [kg]')
161 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination piping [USD]')
162 | ('NEWgenerator chlorination-A6', 'NEWgenerator chlorination chlorination piping PVC weight [kg]')
163 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv panel [USD]')
164 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv panel shipping [USD]')
165 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv racking system [USD]')
166 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv charge controllers [USD]')
167 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv connectors [USD]')
168 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv combiner box [USD]')
169 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv circuit breaker [USD]')
170 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv battery [USD]')
171 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv battery connectors [USD]')
172 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv battery switch [USD]')
173 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv battery terminal [USD]')
174 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv dc enclosure panel [USD]')
175 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv dc din rail [USD]')
176 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv dc din circuit breaker [USD]')
177 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv dc distribution block [USD]')
178 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv dc voltage converter [USD]')
179 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv misc [USD]')
180 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv labor replacement batteries [hr/y]')
181 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv lithium battery [USD]')
182 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv labor replacement misc repairs [hr/y]')
183 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv photovoltaic panel area [m2]')
184 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv aluminum weight [kg]')
185 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv control units weight [kg]')
186 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv cable length [m]')
187 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv connectors weight [kg]')
188 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv switch weight [kg]')
189 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv polycarbonate weight [kg]')
190 | ('NEWgenerator photovoltaic-A7', 'NEWgenerator photovoltaic pv electronics passive weight [kg]')
191 | ('NEWgenerator controls-A8', 'NEWgenerator controls control box enclosure panel [USD]')
192 | ('NEWgenerator controls-A8', 'NEWgenerator controls control box arduino microcontroller [USD]')
193 | ('NEWgenerator controls-A8', 'NEWgenerator controls control box microcontroller din rails [USD]')
194 | ('NEWgenerator controls-A8', 'NEWgenerator controls control box wifi [USD]')
195 | ('NEWgenerator controls-A8', 'NEWgenerator controls control box solid state relays [USD]')
196 | ('NEWgenerator controls-A8', 'NEWgenerator controls control box other relays [USD]')
197 | ('NEWgenerator controls-A8', 'NEWgenerator controls control box conductors [USD]')
198 | ('NEWgenerator controls-A8', 'NEWgenerator controls control box din rails [USD]')
199 | ('NEWgenerator controls-A8', 'NEWgenerator controls control sensors enclosure panel [USD]')
200 | ('NEWgenerator controls-A8', 'NEWgenerator controls control sensors signal conditioners [USD]')
201 | ('NEWgenerator controls-A8', 'NEWgenerator controls control sensors din rails [USD]')
202 | ('NEWgenerator controls-A8', 'NEWgenerator controls control sensors voltage converter [USD]')
203 | ('NEWgenerator controls-A8', 'NEWgenerator controls control orp enclosure panel [USD]')
204 | ('NEWgenerator controls-A8', 'NEWgenerator controls control orp voltage converter [USD]')
205 | ('NEWgenerator controls-A8', 'NEWgenerator controls control orp controller [USD]')
206 | ('NEWgenerator controls-A8', 'NEWgenerator controls control orp probe [USD]')
207 | ('NEWgenerator controls-A8', 'NEWgenerator controls control orp cables [USD]')
208 | ('NEWgenerator controls-A8', 'NEWgenerator controls control pump enclosure panel [USD]')
209 | ('NEWgenerator controls-A8', 'NEWgenerator controls control pump voltage converter [USD]')
210 | ('NEWgenerator controls-A8', 'NEWgenerator controls control pump voltage rectifier [USD]')
211 | ('NEWgenerator controls-A8', 'NEWgenerator controls control pump box relay [USD]')
212 | ('NEWgenerator controls-A8', 'NEWgenerator controls control sensors level sensor [USD]')
213 | ('NEWgenerator controls-A8', 'NEWgenerator controls control sensors level switch [USD]')
214 | ('NEWgenerator controls-A8', 'NEWgenerator controls control sensors flow switches [USD]')
215 | ('NEWgenerator controls-A8', 'NEWgenerator controls control sensors proximity sensor [USD]')
216 | ('NEWgenerator controls-A8', 'NEWgenerator controls control stranded cables [USD]')
217 | ('NEWgenerator controls-A8', 'NEWgenerator controls control sensor cables [USD]')
218 | ('NEWgenerator controls-A8', 'NEWgenerator controls control cable glands [USD]')
219 | ('NEWgenerator controls-A8', 'NEWgenerator controls control gauge ferrules [USD]')
220 | ('NEWgenerator controls-A8', 'NEWgenerator controls control zip ties [USD]')
221 | ('NEWgenerator controls-A8', 'NEWgenerator controls control terminal block jumper [USD]')
222 | ('NEWgenerator controls-A8', 'NEWgenerator controls control system energy percycle [kW]')
223 | ('NEWgenerator controls-A8', 'NEWgenerator controls control system ORP energy percycle [kW]')
224 | ('NEWgenerator controls-A8', 'NEWgenerator controls control background runtime energy perday [kWh]')
225 | ('NEWgenerator controls-A8', 'NEWgenerator controls control batch cycle perday [# batches day-1]')
226 | ('NEWgenerator controls-A8', 'NEWgenerator controls control labor replacement misc repairs [hr/y]')
227 | ('NEWgenerator controls-A8', 'NEWgenerator controls control polycarbonate weight [kg]')
228 | ('NEWgenerator controls-A8', 'NEWgenerator controls control aluminum weight [kg]')
229 | ('NEWgenerator controls-A8', 'NEWgenerator controls control cable length [m]')
230 | ('NEWgenerator controls-A8', 'NEWgenerator controls control electronics passive weight [kg]')
231 | ('NEWgenerator controls-A8', 'NEWgenerator controls control electronics active weight [kg]')
232 | ('NEWgenerator controls-A8', 'NEWgenerator controls control control units weight [kg]')
233 | ('NEWgenerator housing-A9', 'NEWgenerator housing housing framework [USD]')
234 | ('NEWgenerator housing-A9', 'NEWgenerator housing housing framework shipping [USD]')
235 | ('NEWgenerator housing-A9', 'NEWgenerator housing housing fittings [USD]')
236 | ('NEWgenerator housing-A9', 'NEWgenerator housing housing steel weight [kg]')
237 | ('NEWgenerator housing-A9', 'NEWgenerator housing housing zinc coated steel weight [kg]')
238 | ('NEWgenerator housing-A9', 'NEWgenerator housing housing zinc coat [m2]')
239 | ('NEWgenerator housing-A9', 'NEWgenerator housing housing aluminum weight [kg]')
240 | ('NEWgenerator housing-A9', 'NEWgenerator housing housing PE weight [kg]')
241 | ('NEWgenerator housing-A9', 'NEWgenerator housing housing largerncs framework [USD]')
242 | ('NEWgenerator housing-A9', 'NEWgenerator housing cheaper housing framework [USD]')
243 | ('LCA', 'CH4 CF [kg CO2-eq/kg CH4]')
244 | ('LCA', 'CH4 ecosystems CF [points/kg CH4]')
245 | ('LCA', 'CH4 health CF [points/kg CH4]')
246 | ('LCA', 'N2O CF [kg CO2-eq/kg N2O]')
247 | ('LCA', 'N2O ecosystems CF [points/kg N2O]')
248 | ('LCA', 'N2O health CF [points/kg N2O]')
249 | ('LCA', 'N fertilizer CF [kg CO2-eq/kg N]')
250 | ('LCA', 'N fertilizer ecosystems CF [points/kg N]')
251 | ('LCA', 'N fertilizer health CF [points/kg N]')
252 | ('LCA', 'N fertilizer resources CF [points/kg N]')
253 | ('LCA', 'P fertilizer CF [kg CO2-eq/kg P]')
254 | ('LCA', 'P fertilizer ecosystems CF [points/kg P]')
255 | ('LCA', 'P fertilizer health CF [points/kg P]')
256 | ('LCA', 'P fertilizer resources CF [points/kg P]')
257 | ('LCA', 'K fertilizer CF [kg CO2-eq/kg K]')
258 | ('LCA', 'K fertilizer ecosystems CF [points/kg K]')
259 | ('LCA', 'K fertilizer health CF [points/kg K]')
260 | ('LCA', 'K fertilizer resources CF [points/kg K]')
261 | ('LCA', 'Conc nh3 CF [kg CO2-eq/kg]')
262 | ('LCA', 'Conc nh3 ecosystems CF [points/kg]')
263 | ('LCA', 'Conc nh3 health CF [points/kg]')
264 | ('LCA', 'Conc nh3 resources CF [points/kg]')
265 | ('LCA', 'GAC CF [kg CO2-eq/kg]')
266 | ('LCA', 'GAC ecosystems CF [points/kg]')
267 | ('LCA', 'GAC health CF [points/kg]')
268 | ('LCA', 'GAC resources CF [points/kg]')
269 | ('LCA', 'Zeolite CF [kg CO2-eq/kg]')
270 | ('LCA', 'Zeolite ecosystems CF [points/kg]')
271 | ('LCA', 'Zeolite health CF [points/kg]')
272 | ('LCA', 'Zeolite resources CF [points/kg]')
273 | ('LCA', 'Na cl CF [kg CO2-eq/kg]')
274 | ('LCA', 'Na cl ecosystems CF [points/kg]')
275 | ('LCA', 'Na cl health CF [points/kg]')
276 | ('LCA', 'Na cl resources CF [points/kg]')
277 | ('LCA', 'Na cl1 CF [kg CO2-eq/kg]')
278 | ('LCA', 'Na cl1 ecosystems CF [points/kg]')
279 | ('LCA', 'Na cl1 health CF [points/kg]')
280 | ('LCA', 'Na cl1 resources CF [points/kg]')
281 | ('LCA', 'Na OH CF [kg CO2-eq/kg]')
282 | ('LCA', 'Na OH ecosystems CF [points/kg]')
283 | ('LCA', 'Na OH health CF [points/kg]')
284 | ('LCA', 'Na OH resources CF [points/kg]')
285 | ('LCA', 'LPG CF [kg CO2-eq/kg]')
286 | ('LCA', 'LPG ecosystems CF [points/kg]')
287 | ('LCA', 'LPG health CF [points/kg]')
288 | ('LCA', 'LPG resources CF [points/kg]')
289 | ('LCA', 'Excavation-Global warming [kg CO2-eq/m3]')
290 | ('LCA', 'Brick-Global warming [kg CO2-eq/kg]')
291 | ('LCA', 'Cement-Global warming [kg CO2-eq/kg]')
292 | ('LCA', 'Concrete-Global warming [kg CO2-eq/m3]')
293 | ('LCA', 'Gravel-Global warming [kg CO2-eq/kg]')
294 | ('LCA', 'Plastic-Global warming [kg CO2-eq/kg]')
295 | ('LCA', 'Sand-Global warming [kg CO2-eq/kg]')
296 | ('LCA', 'Stainless steel-global warming [kg CO2-eq/kg]')
297 | ('LCA', 'Stainless steel sheet-global warming [kg CO2-eq/kg]')
298 | ('LCA', 'Steel-Global warming [kg CO2-eq/kg]')
299 | ('LCA', 'Wood-Global warming [kg CO2-eq/m3]')
300 | ('LCA', 'Trucking-Global warming [kg CO2-eq/tonne*km]')
301 | ('LCA', 'Electric motor-global warming [kg CO2-eq/ea]')
302 | ('LCA', 'Electronics-Global warming [kg CO2-eq/kg]')
303 | ('LCA', 'Catalytic converter-global warming [kg CO2-eq/ea]')
304 | ('LCA', 'Oil heat exchanger-global warming [kg CO2-eq/ea]')
305 | ('LCA', 'Pump-Global warming [kg CO2-eq/ea]')
306 | ('LCA', 'Hydronic heat exchanger-global warming [kg CO2-eq/ea]')
307 | ('LCA', 'Electric connectors-global warming [kg CO2-eq/kg]')
308 | ('LCA', 'Electric cables-global warming [kg CO2-eq/m]')
309 | ('LCA', 'PVC-Global warming [kg CO2-eq/kg]')
310 | ('LCA', 'PE-Global warming [kg CO2-eq/kg]')
311 | ('LCA', 'Polymer-Global warming [kg CO2-eq/kg]')
312 | ('LCA', 'Cationic resin-global warming [kg CO2-eq/kg]')
313 | ('LCA', 'Ceramic-Global warming [kg CO2-eq/kg]')
314 | ('LCA', 'Fan-Global warming [kg CO2-eq/kg]')
315 | ('LCA', 'Aluminum-Global warming [kg CO2-eq/kg]')
316 | ('LCA', 'LPG-Global warming [kg CO2-eq/kg]')
317 | ('LCA', 'Zinc coat-global warming [kg CO2-eq/m2]')
318 | ('LCA', 'Polyacrylamide-Global warming [kg CO2-eq/kg]')
319 | ('LCA', 'Photovoltaic panel-global warming [kg CO2-eq/m2]')
320 | ('LCA', 'GACProduction-Global warming [kg CO2-eq/kg]')
321 | ('LCA', 'GACRegeneration-Global warming [kg CO2-eq/kg]')
322 | ('LCA', 'Switches-Global warming [kg CO2-eq/kg]')
323 | ('LCA', 'Control units-global warming [kg CO2-eq/kg]')
324 | ('LCA', 'Electronics active-global warming [kg CO2-eq/kg]')
325 | ('LCA', 'Electronics passive-global warming [kg CO2-eq/kg]')
326 | ('LCA', 'Transformers-Global warming [kg CO2-eq/kg]')
327 | ('LCA', 'Fertilizer offset-global warming [kg CO2-eq/kg]')
328 | ('LCA', 'Polycarbonate-Global warming [kg CO2-eq/kg]')
329 | ('LCA', 'Membrane-Global warming [kg CO2-eq/kg]')
330 | ('LCA', 'Na cl-global warming [kg CO2-eq/kg]')
331 | ('LCA', 'Na oh-global warming [kg CO2-eq/kg]')
332 | ('LCA', 'Zeolite-Global warming [kg CO2-eq/kg]')
333 | ('LCA', 'Battery-Global warming [kg CO2-eq/kg]')
334 | ('LCA', 'Lithium battery-global warming [kg CO2-eq/kg]')
335 | ('LCA', 'Excavation-H ecosystems [kg CO2-eq/m3]')
336 | ('LCA', 'Brick-H ecosystems [kg CO2-eq/kg]')
337 | ('LCA', 'Cement-H ecosystems [kg CO2-eq/kg]')
338 | ('LCA', 'Concrete-H ecosystems [kg CO2-eq/m3]')
339 | ('LCA', 'Gravel-H ecosystems [kg CO2-eq/kg]')
340 | ('LCA', 'Plastic-H ecosystems [kg CO2-eq/kg]')
341 | ('LCA', 'Sand-H ecosystems [kg CO2-eq/kg]')
342 | ('LCA', 'Stainless steel-h ecosystems [kg CO2-eq/kg]')
343 | ('LCA', 'Stainless steel sheet-h ecosystems [kg CO2-eq/kg]')
344 | ('LCA', 'Steel-H ecosystems [kg CO2-eq/kg]')
345 | ('LCA', 'Wood-H ecosystems [kg CO2-eq/m3]')
346 | ('LCA', 'Trucking-H ecosystems [kg CO2-eq/tonne*km]')
347 | ('LCA', 'Electric motor-h ecosystems [kg CO2-eq/ea]')
348 | ('LCA', 'Electronics-H ecosystems [kg CO2-eq/kg]')
349 | ('LCA', 'Catalytic converter-h ecosystems [kg CO2-eq/ea]')
350 | ('LCA', 'Oil heat exchanger-h ecosystems [kg CO2-eq/ea]')
351 | ('LCA', 'Pump-H ecosystems [kg CO2-eq/ea]')
352 | ('LCA', 'Hydronic heat exchanger-h ecosystems [kg CO2-eq/ea]')
353 | ('LCA', 'Electric connectors-h ecosystems [kg CO2-eq/kg]')
354 | ('LCA', 'Electric cables-h ecosystems [kg CO2-eq/m]')
355 | ('LCA', 'PVC-H ecosystems [kg CO2-eq/kg]')
356 | ('LCA', 'PE-H ecosystems [kg CO2-eq/kg]')
357 | ('LCA', 'Polymer-H ecosystems [kg CO2-eq/kg]')
358 | ('LCA', 'Cationic resin-h ecosystems [kg CO2-eq/kg]')
359 | ('LCA', 'Ceramic-H ecosystems [kg CO2-eq/kg]')
360 | ('LCA', 'Fan-H ecosystems [kg CO2-eq/kg]')
361 | ('LCA', 'Aluminum-H ecosystems [kg CO2-eq/kg]')
362 | ('LCA', 'LPG-H ecosystems [kg CO2-eq/kg]')
363 | ('LCA', 'Zinc coat-h ecosystems [kg CO2-eq/m2]')
364 | ('LCA', 'Polyacrylamide-H ecosystems [kg CO2-eq/kg]')
365 | ('LCA', 'Photovoltaic panel-h ecosystems [kg CO2-eq/m2]')
366 | ('LCA', 'GACProduction-H ecosystems [kg CO2-eq/kg]')
367 | ('LCA', 'GACRegeneration-H ecosystems [kg CO2-eq/kg]')
368 | ('LCA', 'Switches-H ecosystems [kg CO2-eq/kg]')
369 | ('LCA', 'Control units-h ecosystems [kg CO2-eq/kg]')
370 | ('LCA', 'Electronics active-h ecosystems [kg CO2-eq/kg]')
371 | ('LCA', 'Electronics passive-h ecosystems [kg CO2-eq/kg]')
372 | ('LCA', 'Transformers-H ecosystems [kg CO2-eq/kg]')
373 | ('LCA', 'Fertilizer offset-h ecosystems [kg CO2-eq/kg]')
374 | ('LCA', 'Polycarbonate-H ecosystems [kg CO2-eq/kg]')
375 | ('LCA', 'Membrane-H ecosystems [kg CO2-eq/kg]')
376 | ('LCA', 'Na cl-h ecosystems [kg CO2-eq/kg]')
377 | ('LCA', 'Na oh-h ecosystems [kg CO2-eq/kg]')
378 | ('LCA', 'Zeolite-H ecosystems [kg CO2-eq/kg]')
379 | ('LCA', 'Battery-H ecosystems [kg CO2-eq/kg]')
380 | ('LCA', 'Lithium battery-h ecosystems [kg CO2-eq/kg]')
381 | ('LCA', 'Excavation-H health [kg CO2-eq/m3]')
382 | ('LCA', 'Brick-H health [kg CO2-eq/kg]')
383 | ('LCA', 'Cement-H health [kg CO2-eq/kg]')
384 | ('LCA', 'Concrete-H health [kg CO2-eq/m3]')
385 | ('LCA', 'Gravel-H health [kg CO2-eq/kg]')
386 | ('LCA', 'Plastic-H health [kg CO2-eq/kg]')
387 | ('LCA', 'Sand-H health [kg CO2-eq/kg]')
388 | ('LCA', 'Stainless steel-h health [kg CO2-eq/kg]')
389 | ('LCA', 'Stainless steel sheet-h health [kg CO2-eq/kg]')
390 | ('LCA', 'Steel-H health [kg CO2-eq/kg]')
391 | ('LCA', 'Wood-H health [kg CO2-eq/m3]')
392 | ('LCA', 'Trucking-H health [kg CO2-eq/tonne*km]')
393 | ('LCA', 'Electric motor-h health [kg CO2-eq/ea]')
394 | ('LCA', 'Electronics-H health [kg CO2-eq/kg]')
395 | ('LCA', 'Catalytic converter-h health [kg CO2-eq/ea]')
396 | ('LCA', 'Oil heat exchanger-h health [kg CO2-eq/ea]')
397 | ('LCA', 'Pump-H health [kg CO2-eq/ea]')
398 | ('LCA', 'Hydronic heat exchanger-h health [kg CO2-eq/ea]')
399 | ('LCA', 'Electric connectors-h health [kg CO2-eq/kg]')
400 | ('LCA', 'Electric cables-h health [kg CO2-eq/m]')
401 | ('LCA', 'PVC-H health [kg CO2-eq/kg]')
402 | ('LCA', 'PE-H health [kg CO2-eq/kg]')
403 | ('LCA', 'Polymer-H health [kg CO2-eq/kg]')
404 | ('LCA', 'Cationic resin-h health [kg CO2-eq/kg]')
405 | ('LCA', 'Ceramic-H health [kg CO2-eq/kg]')
406 | ('LCA', 'Fan-H health [kg CO2-eq/kg]')
407 | ('LCA', 'Aluminum-H health [kg CO2-eq/kg]')
408 | ('LCA', 'LPG-H health [kg CO2-eq/kg]')
409 | ('LCA', 'Zinc coat-h health [kg CO2-eq/m2]')
410 | ('LCA', 'Polyacrylamide-H health [kg CO2-eq/kg]')
411 | ('LCA', 'Photovoltaic panel-h health [kg CO2-eq/m2]')
412 | ('LCA', 'GACProduction-H health [kg CO2-eq/kg]')
413 | ('LCA', 'GACRegeneration-H health [kg CO2-eq/kg]')
414 | ('LCA', 'Switches-H health [kg CO2-eq/kg]')
415 | ('LCA', 'Control units-h health [kg CO2-eq/kg]')
416 | ('LCA', 'Electronics active-h health [kg CO2-eq/kg]')
417 | ('LCA', 'Electronics passive-h health [kg CO2-eq/kg]')
418 | ('LCA', 'Transformers-H health [kg CO2-eq/kg]')
419 | ('LCA', 'Fertilizer offset-h health [kg CO2-eq/kg]')
420 | ('LCA', 'Polycarbonate-H health [kg CO2-eq/kg]')
421 | ('LCA', 'Membrane-H health [kg CO2-eq/kg]')
422 | ('LCA', 'Na cl-h health [kg CO2-eq/kg]')
423 | ('LCA', 'Na oh-h health [kg CO2-eq/kg]')
424 | ('LCA', 'Zeolite-H health [kg CO2-eq/kg]')
425 | ('LCA', 'Battery-H health [kg CO2-eq/kg]')
426 | ('LCA', 'Lithium battery-h health [kg CO2-eq/kg]')
427 | ('LCA', 'Excavation-H resources [kg CO2-eq/m3]')
428 | ('LCA', 'Brick-H resources [kg CO2-eq/kg]')
429 | ('LCA', 'Cement-H resources [kg CO2-eq/kg]')
430 | ('LCA', 'Concrete-H resources [kg CO2-eq/m3]')
431 | ('LCA', 'Gravel-H resources [kg CO2-eq/kg]')
432 | ('LCA', 'Plastic-H resources [kg CO2-eq/kg]')
433 | ('LCA', 'Sand-H resources [kg CO2-eq/kg]')
434 | ('LCA', 'Stainless steel-h resources [kg CO2-eq/kg]')
435 | ('LCA', 'Stainless steel sheet-h resources [kg CO2-eq/kg]')
436 | ('LCA', 'Steel-H resources [kg CO2-eq/kg]')
437 | ('LCA', 'Wood-H resources [kg CO2-eq/m3]')
438 | ('LCA', 'Trucking-H resources [kg CO2-eq/tonne*km]')
439 | ('LCA', 'Electric motor-h resources [kg CO2-eq/ea]')
440 | ('LCA', 'Electronics-H resources [kg CO2-eq/kg]')
441 | ('LCA', 'Catalytic converter-h resources [kg CO2-eq/ea]')
442 | ('LCA', 'Oil heat exchanger-h resources [kg CO2-eq/ea]')
443 | ('LCA', 'Pump-H resources [kg CO2-eq/ea]')
444 | ('LCA', 'Hydronic heat exchanger-h resources [kg CO2-eq/ea]')
445 | ('LCA', 'Electric connectors-h resources [kg CO2-eq/kg]')
446 | ('LCA', 'Electric cables-h resources [kg CO2-eq/m]')
447 | ('LCA', 'PVC-H resources [kg CO2-eq/kg]')
448 | ('LCA', 'PE-H resources [kg CO2-eq/kg]')
449 | ('LCA', 'Polymer-H resources [kg CO2-eq/kg]')
450 | ('LCA', 'Cationic resin-h resources [kg CO2-eq/kg]')
451 | ('LCA', 'Ceramic-H resources [kg CO2-eq/kg]')
452 | ('LCA', 'Fan-H resources [kg CO2-eq/kg]')
453 | ('LCA', 'Aluminum-H resources [kg CO2-eq/kg]')
454 | ('LCA', 'LPG-H resources [kg CO2-eq/kg]')
455 | ('LCA', 'Zinc coat-h resources [kg CO2-eq/m2]')
456 | ('LCA', 'Polyacrylamide-H resources [kg CO2-eq/kg]')
457 | ('LCA', 'Photovoltaic panel-h resources [kg CO2-eq/m2]')
458 | ('LCA', 'GACProduction-H resources [kg CO2-eq/kg]')
459 | ('LCA', 'GACRegeneration-H resources [kg CO2-eq/kg]')
460 | ('LCA', 'Switches-H resources [kg CO2-eq/kg]')
461 | ('LCA', 'Control units-h resources [kg CO2-eq/kg]')
462 | ('LCA', 'Electronics active-h resources [kg CO2-eq/kg]')
463 | ('LCA', 'Electronics passive-h resources [kg CO2-eq/kg]')
464 | ('LCA', 'Transformers-H resources [kg CO2-eq/kg]')
465 | ('LCA', 'Fertilizer offset-h resources [kg CO2-eq/kg]')
466 | ('LCA', 'Polycarbonate-H resources [kg CO2-eq/kg]')
467 | ('LCA', 'Membrane-H resources [kg CO2-eq/kg]')
468 | ('LCA', 'Na cl-h resources [kg CO2-eq/kg]')
469 | ('LCA', 'Na oh-h resources [kg CO2-eq/kg]')
470 | ('LCA', 'Zeolite-H resources [kg CO2-eq/kg]')
471 | ('LCA', 'Battery-H resources [kg CO2-eq/kg]')
472 | ('LCA', 'Lithium battery-h resources [kg CO2-eq/kg]')
473 | ('LCA', 'Electricity CF [kg CO2-eq/kWh]')
474 | ('LCA', 'Electricity ecosystems CF [points/kWh]')
475 | ('LCA', 'Electricity health CF [points/kWh]')
476 | ('LCA', 'Electricity resources CF [points/kWh]')
477 | ('TEA', 'Price factor [-]')
478 | ('TEA', 'Zeolite price [USD/kg]')
479 | ('TEA', 'GAC price [USD/kg]')
480 | ('TEA', 'Na OH price [USD/kg]')
481 | ('TEA', 'Na cl price [USD/kg]')
482 | ('TEA', 'Na cl1 price [USD/kg]')
483 | ('TEA', 'LPG price [USD/kg]')
484 | ('TEA', 'N fertilizer price [USD/kg N]')
485 | ('TEA', 'P fertilizer price [USD/kg P]')
486 | ('TEA', 'K fertilizer price [USD/kg K]')
487 | ('TEA', 'NH3 fertilizer price [USD/kg N]')

## ngB
| Parameters | DV | T | RR | Env | Econ | S
0 | ('NEWgenerator pretreatment-B10', 'NEWgenerator pretreatment pretreatment eq tank [USD]')
1 | ('NEWgenerator pretreatment-B10', 'NEWgenerator pretreatment pretreatment tank PE weight [kg]')
2 | ('NEWgenerator pretreatment-B10', 'NEWgenerator pretreatment pretreatment piping [USD]')
3 | ('NEWgenerator pretreatment-B10', 'NEWgenerator pretreatment pretreatment piping PVC weight [kg]')
4 | ('NEWgenerator pretreatment-B10', 'NEWgenerator pretreatment pretreatment feed pump [USD]')
5 | ('NEWgenerator pretreatment-B10', 'NEWgenerator pretreatment pretreatment feed pump energy percycle [kWh]')
6 | ('NEWgenerator pretreatment-B10', 'NEWgenerator pretreatment pretreatment batch cycle perday [# batches day-1]')
7 | ('NEWgenerator pretreatment-B10', 'NEWgenerator pretreatment pretreatment labor replacement other pump [hrs/yr]')
8 | ('NEWgenerator pretreatment-B10', 'NEWgenerator pretreatment pretreatment labor screen pit cleaning [hrs/yr]')
9 | ('NEWgenerator pretreatment-B10', 'NEWgenerator pretreatment pretreatment barscreen cost [USD]')
10 | ('NEWgenerator pretreatment-B10', 'NEWgenerator pretreatment pretreatment barscreen weight [kg]')
11 | ('NEWgenerator pretreatment-B10', 'NEWgenerator pretreatment pretreatment barscreen [USD]')
12 | ('NEWgenerator foundation-B11', 'NEWgenerator foundation foundation concrete unit cost [USD m-3]')
13 | ('NEWgenerator foundation-B11', 'NEWgenerator foundation foundation concrete thickness [m]')
14 | ('Excretion-B1', 'Excretion N prot [fraction]')
15 | ('Excretion-B1', 'Excretion P prot v [fraction]')
16 | ('Excretion-B1', 'Excretion P prot a [fraction]')
17 | ('Excretion-B1', 'Excretion K cal [g K/1000 kcal]')
18 | ('Excretion-B1', 'Excretion N exc [fraction of intake]')
19 | ('Excretion-B1', 'Excretion P exc [fraction of intake]')
20 | ('Excretion-B1', 'Excretion K exc [fraction of intake]')
21 | ('Excretion-B1', 'Excretion e exc [fraction of intake]')
22 | ('Excretion-B1', 'Excretion N ur [fraction of total]')
23 | ('Excretion-B1', 'Excretion P ur [fraction of total]')
24 | ('Excretion-B1', 'Excretion K ur [fraction of total]')
25 | ('Excretion-B1', 'Excretion e fec [fraction of total]')
26 | ('Excretion-B1', 'Excretion N ur NH3 [fraction of total N in urine]')
27 | ('Excretion-B1', 'Excretion N fec NH3 [fraction of total N in feces]')
28 | ('Excretion-B1', 'Excretion ur exc [g/cap/d]')
29 | ('Excretion-B1', 'Excretion fec exc [g/cap/d]')
30 | ('Excretion-B1', 'Excretion ur moi [fraction]')
31 | ('Excretion-B1', 'Excretion fec moi [fraction]')
32 | ('Excretion-B1', 'Excretion mg ur [g Mg/cap/d]')
33 | ('Excretion-B1', 'Excretion mg fec [g Mg/cap/d]')
34 | ('Excretion-B1', 'Excretion ca ur [g Ca/cap/d]')
35 | ('Excretion-B1', 'Excretion ca fec [g Ca/cap/d]')
36 | ('Excretion-B1', 'Labor wages [USD/h]')
37 | ('MURT-B2', 'MURT collection period [days]')
38 | ('MURT-B2', 'MURT sludge accum rate [L/cap/yr]')
39 | ('MURT-B2', 'MURT N volatilization [fraction of N input]')
40 | ('MURT-B2', 'MURT squatting pan cost [USD]')
41 | ('MURT-B2', 'MURT urinal cost [USD]')
42 | ('MURT-B2', 'MURT led cost [USD]')
43 | ('MURT-B2', 'MURT anticor floor cost [USD]')
44 | ('MURT-B2', 'MURT fan cost [USD]')
45 | ('MURT-B2', 'MURT circuit change cost [USD]')
46 | ('MURT-B2', 'MURT pipe cost [USD]')
47 | ('MURT-B2', 'MURT squatting pan weight [kg]')
48 | ('MURT-B2', 'MURT urinal weight [kg]')
49 | ('MURT-B2', 'Max ch4 emission [g CH4/g COD]')
50 | ('MURT-B2', 'Full degradation time [yr]')
51 | ('MURT-B2', 'Log degradation [-]')
52 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr reactor tank [USD]')
53 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr reactor media [USD]')
54 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr reactor fittings [USD]')
55 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr membrane module [USD]')
56 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr permeate pump [USD]')
57 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr backwash pump [USD]')
58 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr water pump [USD]')
59 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr membrane fittings [USD]')
60 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr biogas gas bag [USD]')
61 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr biogas fittings [USD]')
62 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr biogas ventilation [USD]')
63 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr COD removal [ratio]')
64 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr TN removal [ratio]')
65 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr TP removal [ratio]')
66 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr water pump energy percycle [kWh]')
67 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr permeate pump energy percycle [kWh]')
68 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr backwash pump energy percycle [kWh]')
69 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr batch cycle perday [# batches day-1]')
70 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr labor maintenance membrane chem cleaning [hrs/yr]')
71 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr labor maintenance sludge removal [hrs/yr]')
72 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr labor replacement membrane pump [hrs/yr]')
73 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr labor replacement permeate pump [hrs/yr]')
74 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr labor replacement membrane module [hrs/yr]')
75 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr labor replacement misc repairs [hr/y]')
76 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr reactor weight [kg]')
77 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr tau [d]')
78 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr soluble methane fraction [nan]')
79 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr VSS TSS ratio [nan]')
80 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr membrane weight [kg]')
81 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr PE weight [kg]')
82 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr PVC weight [kg]')
83 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr plastic weight [kg]')
84 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr piping [USD]')
85 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr piping PVC weight [kg]')
86 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr sludge yield [kg-VSS/kg-BOD removed]')
87 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR anmbr methane yield [m3-CH4/kg COD removed]')
88 | ('NEWgenerator an MBR-B3', 'NEWgenerator an MBR dissolved methane HFMC removed [nan]')
89 | ('Sludge pasteurization-B4', 'Sludge pasteurization sludge dryer weight [kg]')
90 | ('Sludge pasteurization-B4', 'Sludge pasteurization sludge barrel weight [kg]')
91 | ('Sludge pasteurization-B4', 'Sludge pasteurization sludge dryer [USD]')
92 | ('Sludge pasteurization-B4', 'Sludge pasteurization sludge barrel [USD]')
93 | ('Sludge pasteurization-B4', 'Sludge pasteurization sludge labor maintenance [h]')
94 | ('Sludge pasteurization-B4', 'Fraction biogas lost [fraction]')
95 | ('Sludge pasteurization-B4', 'Biogas efficiency [fraction]')
96 | ('Sludge pasteurization-B4', 'Heat loss [fraction]')
97 | ('Sludge pasteurization-B4', 'Sludge temperature [fraction]')
98 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion eq2 tank [USD]')
99 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion eq2 pump [USD]')
100 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion eq2 powered valve [USD]')
101 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion eq2 fittings [USD]')
102 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion zeolite tanks [USD]')
103 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion filtration media [USD]')
104 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion gac [USD]')
105 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion zeolite [USD]')
106 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion zeolite fittings [USD]')
107 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion eq3 tank [USD]')
108 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion eq3 pump [USD]')
109 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion eq3 filter [USD]')
110 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion eq3 fittings [USD]')
111 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion COD removal [nan]')
112 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion TN removal [nan]')
113 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion TP removal [nan]')
114 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion labor maintenance zeolite regeneration [hr/y]')
115 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion labor maintenance GAC replacement [hr/y]')
116 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion labor replacement zeolite [hr/y]')
117 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion labor replacement misc repairs [hr/y]')
118 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion labor replacement other pump [hrs/yr]')
119 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion backwash pump energy percycle [kWh]')
120 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion batch cycle perday [# batches day-1]')
121 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion gac unit cost [USD/kg]')
122 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion zeolite unit cost [USD/kg]')
123 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion na cl unit cost [USD/kg]')
124 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion na OH unit cost [USD/kg]')
125 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion regen freq per yr [events/yr]')
126 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion regen efficiency [nan]')
127 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion polycarbonate weight [kg]')
128 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion steel weight [kg]')
129 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion PE weight [kg]')
130 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion PVC weight [kg]')
131 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion plastic weight [kg]')
132 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion piping PVC weight [kg]')
133 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion piping [USD]')
134 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion replacement scenario drums [USD]')
135 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion largerncs scenario zeolite tanks [USD]')
136 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion largerncs scenario zeolite [USD]')
137 | ('NEWgenerator ion exchange-B5', 'NEWgenerator ion exchange ion zeolite fittings largerncs [USD]')
138 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination recycle pump [USD]')
139 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination electochlorinator [USD]')
140 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination powered valve [USD]')
141 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination fittings [USD]')
142 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination tanks [USD]')
143 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination COD removal [%]')
144 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination TN removal [%]')
145 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination TP removal [%]')
146 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination chlorinator energy percycle [kWh]')
147 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination pump energy percycle [kWh]')
148 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination ventilation energy percycle [kWh]')
149 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination valve energy percycle [kWh]')
150 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination product water pump energy percycle [kWh]')
151 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination batch cycle per day [# batches day-1]')
152 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination labor maintenance chlorinator recharging [hr/y]')
153 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination labor replacement chlorinator replacement [hr/y]')
154 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination labor replacement other pump [hr/y]')
155 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination labor replacement misc repairs [hr/y]')
156 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination na cl dosage [mg/L]')
157 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination throughput flow [L/d]')
158 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination PE weight [kg]')
159 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination PVC weight [kg]')
160 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination electronics active weight [kg]')
161 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination piping [USD]')
162 | ('NEWgenerator chlorination-B6', 'NEWgenerator chlorination chlorination piping PVC weight [kg]')
163 | ('NEWgenerator gridtied-B7', 'NEWgenerator gridtied grid power ac conversion [USD]')
164 | ('NEWgenerator gridtied-B7', 'NEWgenerator gridtied grid power dc distribution [USD]')
165 | ('NEWgenerator gridtied-B7', 'NEWgenerator gridtied grid power misc [USD]')
166 | ('NEWgenerator gridtied-B7', 'NEWgenerator gridtied grid labor replacement misc repairs [hr/y]')
167 | ('NEWgenerator gridtied-B7', 'NEWgenerator gridtied grid polycarbonate weight [kg]')
168 | ('NEWgenerator gridtied-B7', 'NEWgenerator gridtied grid aluminium weight [kg]')
169 | ('NEWgenerator gridtied-B7', 'NEWgenerator gridtied grid electronics passive weight [kg]')
170 | ('NEWgenerator gridtied-B7', 'NEWgenerator gridtied grid electronics active weight [kg]')
171 | ('NEWgenerator controls-B8', 'NEWgenerator controls control box enclosure panel [USD]')
172 | ('NEWgenerator controls-B8', 'NEWgenerator controls control box arduino microcontroller [USD]')
173 | ('NEWgenerator controls-B8', 'NEWgenerator controls control box microcontroller din rails [USD]')
174 | ('NEWgenerator controls-B8', 'NEWgenerator controls control box wifi [USD]')
175 | ('NEWgenerator controls-B8', 'NEWgenerator controls control box solid state relays [USD]')
176 | ('NEWgenerator controls-B8', 'NEWgenerator controls control box other relays [USD]')
177 | ('NEWgenerator controls-B8', 'NEWgenerator controls control box conductors [USD]')
178 | ('NEWgenerator controls-B8', 'NEWgenerator controls control box din rails [USD]')
179 | ('NEWgenerator controls-B8', 'NEWgenerator controls control sensors enclosure panel [USD]')
180 | ('NEWgenerator controls-B8', 'NEWgenerator controls control sensors signal conditioners [USD]')
181 | ('NEWgenerator controls-B8', 'NEWgenerator controls control sensors din rails [USD]')
182 | ('NEWgenerator controls-B8', 'NEWgenerator controls control sensors voltage converter [USD]')
183 | ('NEWgenerator controls-B8', 'NEWgenerator controls control orp enclosure panel [USD]')
184 | ('NEWgenerator controls-B8', 'NEWgenerator controls control orp voltage converter [USD]')
185 | ('NEWgenerator controls-B8', 'NEWgenerator controls control orp controller [USD]')
186 | ('NEWgenerator controls-B8', 'NEWgenerator controls control orp probe [USD]')
187 | ('NEWgenerator controls-B8', 'NEWgenerator controls control orp cables [USD]')
188 | ('NEWgenerator controls-B8', 'NEWgenerator controls control pump enclosure panel [USD]')
189 | ('NEWgenerator controls-B8', 'NEWgenerator controls control pump voltage converter [USD]')
190 | ('NEWgenerator controls-B8', 'NEWgenerator controls control pump voltage rectifier [USD]')
191 | ('NEWgenerator controls-B8', 'NEWgenerator controls control pump box relay [USD]')
192 | ('NEWgenerator controls-B8', 'NEWgenerator controls control sensors level sensor [USD]')
193 | ('NEWgenerator controls-B8', 'NEWgenerator controls control sensors level switch [USD]')
194 | ('NEWgenerator controls-B8', 'NEWgenerator controls control sensors flow switches [USD]')
195 | ('NEWgenerator controls-B8', 'NEWgenerator controls control sensors proximity sensor [USD]')
196 | ('NEWgenerator controls-B8', 'NEWgenerator controls control stranded cables [USD]')
197 | ('NEWgenerator controls-B8', 'NEWgenerator controls control sensor cables [USD]')
198 | ('NEWgenerator controls-B8', 'NEWgenerator controls control cable glands [USD]')
199 | ('NEWgenerator controls-B8', 'NEWgenerator controls control gauge ferrules [USD]')
200 | ('NEWgenerator controls-B8', 'NEWgenerator controls control zip ties [USD]')
201 | ('NEWgenerator controls-B8', 'NEWgenerator controls control terminal block jumper [USD]')
202 | ('NEWgenerator controls-B8', 'NEWgenerator controls control system energy percycle [kW]')
203 | ('NEWgenerator controls-B8', 'NEWgenerator controls control system ORP energy percycle [kW]')
204 | ('NEWgenerator controls-B8', 'NEWgenerator controls control background runtime energy perday [kWh]')
205 | ('NEWgenerator controls-B8', 'NEWgenerator controls control batch cycle perday [# batches day-1]')
206 | ('NEWgenerator controls-B8', 'NEWgenerator controls control labor replacement misc repairs [hr/y]')
207 | ('NEWgenerator controls-B8', 'NEWgenerator controls control polycarbonate weight [kg]')
208 | ('NEWgenerator controls-B8', 'NEWgenerator controls control aluminum weight [kg]')
209 | ('NEWgenerator controls-B8', 'NEWgenerator controls control cable length [m]')
210 | ('NEWgenerator controls-B8', 'NEWgenerator controls control electronics passive weight [kg]')
211 | ('NEWgenerator controls-B8', 'NEWgenerator controls control electronics active weight [kg]')
212 | ('NEWgenerator controls-B8', 'NEWgenerator controls control control units weight [kg]')
213 | ('NEWgenerator housing-B9', 'NEWgenerator housing housing framework [USD]')
214 | ('NEWgenerator housing-B9', 'NEWgenerator housing housing framework shipping [USD]')
215 | ('NEWgenerator housing-B9', 'NEWgenerator housing housing fittings [USD]')
216 | ('NEWgenerator housing-B9', 'NEWgenerator housing housing steel weight [kg]')
217 | ('NEWgenerator housing-B9', 'NEWgenerator housing housing zinc coated steel weight [kg]')
218 | ('NEWgenerator housing-B9', 'NEWgenerator housing housing zinc coat [m2]')
219 | ('NEWgenerator housing-B9', 'NEWgenerator housing housing aluminum weight [kg]')
220 | ('NEWgenerator housing-B9', 'NEWgenerator housing housing PE weight [kg]')
221 | ('NEWgenerator housing-B9', 'NEWgenerator housing housing largerncs framework [USD]')
222 | ('NEWgenerator housing-B9', 'NEWgenerator housing cheaper housing framework [USD]')
223 | ('LCA', 'CH4 CF [kg CO2-eq/kg CH4]')
224 | ('LCA', 'CH4 ecosystems CF [points/kg CH4]')
225 | ('LCA', 'CH4 health CF [points/kg CH4]')
226 | ('LCA', 'N2O CF [kg CO2-eq/kg N2O]')
227 | ('LCA', 'N2O ecosystems CF [points/kg N2O]')
228 | ('LCA', 'N2O health CF [points/kg N2O]')
229 | ('LCA', 'N fertilizer CF [kg CO2-eq/kg N]')
230 | ('LCA', 'N fertilizer ecosystems CF [points/kg N]')
231 | ('LCA', 'N fertilizer health CF [points/kg N]')
232 | ('LCA', 'N fertilizer resources CF [points/kg N]')
233 | ('LCA', 'P fertilizer CF [kg CO2-eq/kg P]')
234 | ('LCA', 'P fertilizer ecosystems CF [points/kg P]')
235 | ('LCA', 'P fertilizer health CF [points/kg P]')
236 | ('LCA', 'P fertilizer resources CF [points/kg P]')
237 | ('LCA', 'K fertilizer CF [kg CO2-eq/kg K]')
238 | ('LCA', 'K fertilizer ecosystems CF [points/kg K]')
239 | ('LCA', 'K fertilizer health CF [points/kg K]')
240 | ('LCA', 'K fertilizer resources CF [points/kg K]')
241 | ('LCA', 'Conc nh3 CF [kg CO2-eq/kg]')
242 | ('LCA', 'Conc nh3 ecosystems CF [points/kg]')
243 | ('LCA', 'Conc nh3 health CF [points/kg]')
244 | ('LCA', 'Conc nh3 resources CF [points/kg]')
245 | ('LCA', 'GAC CF [kg CO2-eq/kg]')
246 | ('LCA', 'GAC ecosystems CF [points/kg]')
247 | ('LCA', 'GAC health CF [points/kg]')
248 | ('LCA', 'GAC resources CF [points/kg]')
249 | ('LCA', 'Zeolite CF [kg CO2-eq/kg]')
250 | ('LCA', 'Zeolite ecosystems CF [points/kg]')
251 | ('LCA', 'Zeolite health CF [points/kg]')
252 | ('LCA', 'Zeolite resources CF [points/kg]')
253 | ('LCA', 'Na cl CF [kg CO2-eq/kg]')
254 | ('LCA', 'Na cl ecosystems CF [points/kg]')
255 | ('LCA', 'Na cl health CF [points/kg]')
256 | ('LCA', 'Na cl resources CF [points/kg]')
257 | ('LCA', 'Na cl1 CF [kg CO2-eq/kg]')
258 | ('LCA', 'Na cl1 ecosystems CF [points/kg]')
259 | ('LCA', 'Na cl1 health CF [points/kg]')
260 | ('LCA', 'Na cl1 resources CF [points/kg]')
261 | ('LCA', 'Na OH CF [kg CO2-eq/kg]')
262 | ('LCA', 'Na OH ecosystems CF [points/kg]')
263 | ('LCA', 'Na OH health CF [points/kg]')
264 | ('LCA', 'Na OH resources CF [points/kg]')
265 | ('LCA', 'LPG CF [kg CO2-eq/kg]')
266 | ('LCA', 'LPG ecosystems CF [points/kg]')
267 | ('LCA', 'LPG health CF [points/kg]')
268 | ('LCA', 'LPG resources CF [points/kg]')
269 | ('LCA', 'Excavation-Global warming [kg CO2-eq/m3]')
270 | ('LCA', 'Brick-Global warming [kg CO2-eq/kg]')
271 | ('LCA', 'Cement-Global warming [kg CO2-eq/kg]')
272 | ('LCA', 'Concrete-Global warming [kg CO2-eq/m3]')
273 | ('LCA', 'Gravel-Global warming [kg CO2-eq/kg]')
274 | ('LCA', 'Plastic-Global warming [kg CO2-eq/kg]')
275 | ('LCA', 'Sand-Global warming [kg CO2-eq/kg]')
276 | ('LCA', 'Stainless steel-global warming [kg CO2-eq/kg]')
277 | ('LCA', 'Stainless steel sheet-global warming [kg CO2-eq/kg]')
278 | ('LCA', 'Steel-Global warming [kg CO2-eq/kg]')
279 | ('LCA', 'Wood-Global warming [kg CO2-eq/m3]')
280 | ('LCA', 'Trucking-Global warming [kg CO2-eq/tonne*km]')
281 | ('LCA', 'Electric motor-global warming [kg CO2-eq/ea]')
282 | ('LCA', 'Electronics-Global warming [kg CO2-eq/kg]')
283 | ('LCA', 'Catalytic converter-global warming [kg CO2-eq/ea]')
284 | ('LCA', 'Oil heat exchanger-global warming [kg CO2-eq/ea]')
285 | ('LCA', 'Pump-Global warming [kg CO2-eq/ea]')
286 | ('LCA', 'Hydronic heat exchanger-global warming [kg CO2-eq/ea]')
287 | ('LCA', 'Electric connectors-global warming [kg CO2-eq/kg]')
288 | ('LCA', 'Electric cables-global warming [kg CO2-eq/m]')
289 | ('LCA', 'PVC-Global warming [kg CO2-eq/kg]')
290 | ('LCA', 'PE-Global warming [kg CO2-eq/kg]')
291 | ('LCA', 'Polymer-Global warming [kg CO2-eq/kg]')
292 | ('LCA', 'Cationic resin-global warming [kg CO2-eq/kg]')
293 | ('LCA', 'Ceramic-Global warming [kg CO2-eq/kg]')
294 | ('LCA', 'Fan-Global warming [kg CO2-eq/kg]')
295 | ('LCA', 'Aluminum-Global warming [kg CO2-eq/kg]')
296 | ('LCA', 'LPG-Global warming [kg CO2-eq/kg]')
297 | ('LCA', 'Zinc coat-global warming [kg CO2-eq/m2]')
298 | ('LCA', 'Polyacrylamide-Global warming [kg CO2-eq/kg]')
299 | ('LCA', 'Photovoltaic panel-global warming [kg CO2-eq/m2]')
300 | ('LCA', 'GACProduction-Global warming [kg CO2-eq/kg]')
301 | ('LCA', 'GACRegeneration-Global warming [kg CO2-eq/kg]')
302 | ('LCA', 'Switches-Global warming [kg CO2-eq/kg]')
303 | ('LCA', 'Control units-global warming [kg CO2-eq/kg]')
304 | ('LCA', 'Electronics active-global warming [kg CO2-eq/kg]')
305 | ('LCA', 'Electronics passive-global warming [kg CO2-eq/kg]')
306 | ('LCA', 'Transformers-Global warming [kg CO2-eq/kg]')
307 | ('LCA', 'Fertilizer offset-global warming [kg CO2-eq/kg]')
308 | ('LCA', 'Polycarbonate-Global warming [kg CO2-eq/kg]')
309 | ('LCA', 'Membrane-Global warming [kg CO2-eq/kg]')
310 | ('LCA', 'Na cl-global warming [kg CO2-eq/kg]')
311 | ('LCA', 'Na oh-global warming [kg CO2-eq/kg]')
312 | ('LCA', 'Zeolite-Global warming [kg CO2-eq/kg]')
313 | ('LCA', 'Battery-Global warming [kg CO2-eq/kg]')
314 | ('LCA', 'Lithium battery-global warming [kg CO2-eq/kg]')
315 | ('LCA', 'Excavation-H ecosystems [kg CO2-eq/m3]')
316 | ('LCA', 'Brick-H ecosystems [kg CO2-eq/kg]')
317 | ('LCA', 'Cement-H ecosystems [kg CO2-eq/kg]')
318 | ('LCA', 'Concrete-H ecosystems [kg CO2-eq/m3]')
319 | ('LCA', 'Gravel-H ecosystems [kg CO2-eq/kg]')
320 | ('LCA', 'Plastic-H ecosystems [kg CO2-eq/kg]')
321 | ('LCA', 'Sand-H ecosystems [kg CO2-eq/kg]')
322 | ('LCA', 'Stainless steel-h ecosystems [kg CO2-eq/kg]')
323 | ('LCA', 'Stainless steel sheet-h ecosystems [kg CO2-eq/kg]')
324 | ('LCA', 'Steel-H ecosystems [kg CO2-eq/kg]')
325 | ('LCA', 'Wood-H ecosystems [kg CO2-eq/m3]')
326 | ('LCA', 'Trucking-H ecosystems [kg CO2-eq/tonne*km]')
327 | ('LCA', 'Electric motor-h ecosystems [kg CO2-eq/ea]')
328 | ('LCA', 'Electronics-H ecosystems [kg CO2-eq/kg]')
329 | ('LCA', 'Catalytic converter-h ecosystems [kg CO2-eq/ea]')
330 | ('LCA', 'Oil heat exchanger-h ecosystems [kg CO2-eq/ea]')
331 | ('LCA', 'Pump-H ecosystems [kg CO2-eq/ea]')
332 | ('LCA', 'Hydronic heat exchanger-h ecosystems [kg CO2-eq/ea]')
333 | ('LCA', 'Electric connectors-h ecosystems [kg CO2-eq/kg]')
334 | ('LCA', 'Electric cables-h ecosystems [kg CO2-eq/m]')
335 | ('LCA', 'PVC-H ecosystems [kg CO2-eq/kg]')
336 | ('LCA', 'PE-H ecosystems [kg CO2-eq/kg]')
337 | ('LCA', 'Polymer-H ecosystems [kg CO2-eq/kg]')
338 | ('LCA', 'Cationic resin-h ecosystems [kg CO2-eq/kg]')
339 | ('LCA', 'Ceramic-H ecosystems [kg CO2-eq/kg]')
340 | ('LCA', 'Fan-H ecosystems [kg CO2-eq/kg]')
341 | ('LCA', 'Aluminum-H ecosystems [kg CO2-eq/kg]')
342 | ('LCA', 'LPG-H ecosystems [kg CO2-eq/kg]')
343 | ('LCA', 'Zinc coat-h ecosystems [kg CO2-eq/m2]')
344 | ('LCA', 'Polyacrylamide-H ecosystems [kg CO2-eq/kg]')
345 | ('LCA', 'Photovoltaic panel-h ecosystems [kg CO2-eq/m2]')
346 | ('LCA', 'GACProduction-H ecosystems [kg CO2-eq/kg]')
347 | ('LCA', 'GACRegeneration-H ecosystems [kg CO2-eq/kg]')
348 | ('LCA', 'Switches-H ecosystems [kg CO2-eq/kg]')
349 | ('LCA', 'Control units-h ecosystems [kg CO2-eq/kg]')
350 | ('LCA', 'Electronics active-h ecosystems [kg CO2-eq/kg]')
351 | ('LCA', 'Electronics passive-h ecosystems [kg CO2-eq/kg]')
352 | ('LCA', 'Transformers-H ecosystems [kg CO2-eq/kg]')
353 | ('LCA', 'Fertilizer offset-h ecosystems [kg CO2-eq/kg]')
354 | ('LCA', 'Polycarbonate-H ecosystems [kg CO2-eq/kg]')
355 | ('LCA', 'Membrane-H ecosystems [kg CO2-eq/kg]')
356 | ('LCA', 'Na cl-h ecosystems [kg CO2-eq/kg]')
357 | ('LCA', 'Na oh-h ecosystems [kg CO2-eq/kg]')
358 | ('LCA', 'Zeolite-H ecosystems [kg CO2-eq/kg]')
359 | ('LCA', 'Battery-H ecosystems [kg CO2-eq/kg]')
360 | ('LCA', 'Lithium battery-h ecosystems [kg CO2-eq/kg]')
361 | ('LCA', 'Excavation-H health [kg CO2-eq/m3]')
362 | ('LCA', 'Brick-H health [kg CO2-eq/kg]')
363 | ('LCA', 'Cement-H health [kg CO2-eq/kg]')
364 | ('LCA', 'Concrete-H health [kg CO2-eq/m3]')
365 | ('LCA', 'Gravel-H health [kg CO2-eq/kg]')
366 | ('LCA', 'Plastic-H health [kg CO2-eq/kg]')
367 | ('LCA', 'Sand-H health [kg CO2-eq/kg]')
368 | ('LCA', 'Stainless steel-h health [kg CO2-eq/kg]')
369 | ('LCA', 'Stainless steel sheet-h health [kg CO2-eq/kg]')
370 | ('LCA', 'Steel-H health [kg CO2-eq/kg]')
371 | ('LCA', 'Wood-H health [kg CO2-eq/m3]')
372 | ('LCA', 'Trucking-H health [kg CO2-eq/tonne*km]')
373 | ('LCA', 'Electric motor-h health [kg CO2-eq/ea]')
374 | ('LCA', 'Electronics-H health [kg CO2-eq/kg]')
375 | ('LCA', 'Catalytic converter-h health [kg CO2-eq/ea]')
376 | ('LCA', 'Oil heat exchanger-h health [kg CO2-eq/ea]')
377 | ('LCA', 'Pump-H health [kg CO2-eq/ea]')
378 | ('LCA', 'Hydronic heat exchanger-h health [kg CO2-eq/ea]')
379 | ('LCA', 'Electric connectors-h health [kg CO2-eq/kg]')
380 | ('LCA', 'Electric cables-h health [kg CO2-eq/m]')
381 | ('LCA', 'PVC-H health [kg CO2-eq/kg]')
382 | ('LCA', 'PE-H health [kg CO2-eq/kg]')
383 | ('LCA', 'Polymer-H health [kg CO2-eq/kg]')
384 | ('LCA', 'Cationic resin-h health [kg CO2-eq/kg]')
385 | ('LCA', 'Ceramic-H health [kg CO2-eq/kg]')
386 | ('LCA', 'Fan-H health [kg CO2-eq/kg]')
387 | ('LCA', 'Aluminum-H health [kg CO2-eq/kg]')
388 | ('LCA', 'LPG-H health [kg CO2-eq/kg]')
389 | ('LCA', 'Zinc coat-h health [kg CO2-eq/m2]')
390 | ('LCA', 'Polyacrylamide-H health [kg CO2-eq/kg]')
391 | ('LCA', 'Photovoltaic panel-h health [kg CO2-eq/m2]')
392 | ('LCA', 'GACProduction-H health [kg CO2-eq/kg]')
393 | ('LCA', 'GACRegeneration-H health [kg CO2-eq/kg]')
394 | ('LCA', 'Switches-H health [kg CO2-eq/kg]')
395 | ('LCA', 'Control units-h health [kg CO2-eq/kg]')
396 | ('LCA', 'Electronics active-h health [kg CO2-eq/kg]')
397 | ('LCA', 'Electronics passive-h health [kg CO2-eq/kg]')
398 | ('LCA', 'Transformers-H health [kg CO2-eq/kg]')
399 | ('LCA', 'Fertilizer offset-h health [kg CO2-eq/kg]')
400 | ('LCA', 'Polycarbonate-H health [kg CO2-eq/kg]')
401 | ('LCA', 'Membrane-H health [kg CO2-eq/kg]')
402 | ('LCA', 'Na cl-h health [kg CO2-eq/kg]')
403 | ('LCA', 'Na oh-h health [kg CO2-eq/kg]')
404 | ('LCA', 'Zeolite-H health [kg CO2-eq/kg]')
405 | ('LCA', 'Battery-H health [kg CO2-eq/kg]')
406 | ('LCA', 'Lithium battery-h health [kg CO2-eq/kg]')
407 | ('LCA', 'Excavation-H resources [kg CO2-eq/m3]')
408 | ('LCA', 'Brick-H resources [kg CO2-eq/kg]')
409 | ('LCA', 'Cement-H resources [kg CO2-eq/kg]')
410 | ('LCA', 'Concrete-H resources [kg CO2-eq/m3]')
411 | ('LCA', 'Gravel-H resources [kg CO2-eq/kg]')
412 | ('LCA', 'Plastic-H resources [kg CO2-eq/kg]')
413 | ('LCA', 'Sand-H resources [kg CO2-eq/kg]')
414 | ('LCA', 'Stainless steel-h resources [kg CO2-eq/kg]')
415 | ('LCA', 'Stainless steel sheet-h resources [kg CO2-eq/kg]')
416 | ('LCA', 'Steel-H resources [kg CO2-eq/kg]')
417 | ('LCA', 'Wood-H resources [kg CO2-eq/m3]')
418 | ('LCA', 'Trucking-H resources [kg CO2-eq/tonne*km]')
419 | ('LCA', 'Electric motor-h resources [kg CO2-eq/ea]')
420 | ('LCA', 'Electronics-H resources [kg CO2-eq/kg]')
421 | ('LCA', 'Catalytic converter-h resources [kg CO2-eq/ea]')
422 | ('LCA', 'Oil heat exchanger-h resources [kg CO2-eq/ea]')
423 | ('LCA', 'Pump-H resources [kg CO2-eq/ea]')
424 | ('LCA', 'Hydronic heat exchanger-h resources [kg CO2-eq/ea]')
425 | ('LCA', 'Electric connectors-h resources [kg CO2-eq/kg]')
426 | ('LCA', 'Electric cables-h resources [kg CO2-eq/m]')
427 | ('LCA', 'PVC-H resources [kg CO2-eq/kg]')
428 | ('LCA', 'PE-H resources [kg CO2-eq/kg]')
429 | ('LCA', 'Polymer-H resources [kg CO2-eq/kg]')
430 | ('LCA', 'Cationic resin-h resources [kg CO2-eq/kg]')
431 | ('LCA', 'Ceramic-H resources [kg CO2-eq/kg]')
432 | ('LCA', 'Fan-H resources [kg CO2-eq/kg]')
433 | ('LCA', 'Aluminum-H resources [kg CO2-eq/kg]')
434 | ('LCA', 'LPG-H resources [kg CO2-eq/kg]')
435 | ('LCA', 'Zinc coat-h resources [kg CO2-eq/m2]')
436 | ('LCA', 'Polyacrylamide-H resources [kg CO2-eq/kg]')
437 | ('LCA', 'Photovoltaic panel-h resources [kg CO2-eq/m2]')
438 | ('LCA', 'GACProduction-H resources [kg CO2-eq/kg]')
439 | ('LCA', 'GACRegeneration-H resources [kg CO2-eq/kg]')
440 | ('LCA', 'Switches-H resources [kg CO2-eq/kg]')
441 | ('LCA', 'Control units-h resources [kg CO2-eq/kg]')
442 | ('LCA', 'Electronics active-h resources [kg CO2-eq/kg]')
443 | ('LCA', 'Electronics passive-h resources [kg CO2-eq/kg]')
444 | ('LCA', 'Transformers-H resources [kg CO2-eq/kg]')
445 | ('LCA', 'Fertilizer offset-h resources [kg CO2-eq/kg]')
446 | ('LCA', 'Polycarbonate-H resources [kg CO2-eq/kg]')
447 | ('LCA', 'Membrane-H resources [kg CO2-eq/kg]')
448 | ('LCA', 'Na cl-h resources [kg CO2-eq/kg]')
449 | ('LCA', 'Na oh-h resources [kg CO2-eq/kg]')
450 | ('LCA', 'Zeolite-H resources [kg CO2-eq/kg]')
451 | ('LCA', 'Battery-H resources [kg CO2-eq/kg]')
452 | ('LCA', 'Lithium battery-h resources [kg CO2-eq/kg]')
453 | ('LCA', 'Electricity CF [kg CO2-eq/kWh]')
454 | ('LCA', 'Electricity ecosystems CF [points/kWh]')
455 | ('LCA', 'Electricity health CF [points/kWh]')
456 | ('LCA', 'Electricity resources CF [points/kWh]')
457 | ('TEA', 'Price factor [-]')
458 | ('TEA', 'Zeolite price [USD/kg]')
459 | ('TEA', 'GAC price [USD/kg]')
460 | ('TEA', 'Na OH price [USD/kg]')
461 | ('TEA', 'Na cl price [USD/kg]')
462 | ('TEA', 'Na cl1 price [USD/kg]')
463 | ('TEA', 'LPG price [USD/kg]')
464 | ('TEA', 'N fertilizer price [USD/kg N]')
465 | ('TEA', 'P fertilizer price [USD/kg P]')
466 | ('TEA', 'K fertilizer price [USD/kg K]')
467 | ('TEA', 'NH3 fertilizer price [USD/kg N]')